## HP05-2021DI Bid Response
ITEM NO | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25
Item Specification | Barium sulfate 4.6% m/m suspension for cat scanning examinations. with graduated mixing measure jug, 225ml | Barium sulfate 96% m/m powder for suspension for oral use, 1.2kg | Barium sulfate 96% powder for suspension, for rectal use. Prefilled enema kit with disposable tubing and tip, 397g | Barium sulfate 98% m/m powder for suspension for oral use, 340g | BLOOD GLUCOSE METER (Each) Items 24 and 5 will be considered as a series See Annexure A for complete specification | Fluorescein strips 1mg, 100 strips | Gadobenic acid 604.72mg/ml, 7.5ml prefilled syringe | Gadopentetic Acid 469.1mg/ml injection, 20ml | Iohexol 300mg iodine/ml injection, 100ml | Iohexol 300mg iodine/ml injection, 20ml | Iohexol 300mg iodine/ml injection, 50ml | Iohexol 350mg iodine/ml injection, 100ml | Iohexol 350mg iodine/ml injection, 50ml | Iomeprol 400, iodine content 400mg/ml, 100ml | Iopamidol 370mg iodine/ml injection, 100ml | Iopamidol 370mg iodine/ml injection, 50ml | Iopromide 300mg iodine/ml injection, 100ml | Iopromide 300mg iodine/ml injection, 50ml | Iopromide 370mg iodine/ml injection, 100ml | Meglumine amidotrizoate 66g and sodium amidotrizoate 10g solution, 100ml | Meglumine diatrizoate 26.1% and sodium diatrizoate 3.9% injection, 250ml | Meglumine diatrizoate 52.1% and sodium diatrizoate 7.9% injection, 20ml | TB Lipoarabinoamannan (LAM) antigen urine test strips; 100’s; including pipettes; 100’s | TEST STRIP for the determination of GLUCOSE in WHOLE BLOOD, 50 strips per container. Items 24 and 5 will be considered as a series See Annexure B for complete specificatio | URINE TEST STRIP for the determination of 10 different URINE PARAMETERS, 100 strips per container. See Annexure C for complete Specification
UNIT (Use for Estimate & Price) | Each | Each | Each | Each | Each | 1 Pack of 100 strips | Each | Each | Each | Each | Each | Each | Each | Each | Each | Each | Each | Each | Each | Each | Each | Each | 1 Pack of 100 strips | 1 Pack of 50 strips | 1 Pack of 100 strips
Estimate | 10616 | 1629 | 3280 | 20205 | 532000 | 3604 | 4682 | 41360 | 301075 | 6190 | 156480 | 249620 | 332020 | 4740 | 36000 | 11764 | 17810 | 14500 | 11844 | 48575 | 45490 | 670 | 14930 | 5731410 | 655530
Series |  |  |  |  | Series 1 | [18 empty] | Series 1
Quantity for full tender period
Registered Legal Name of Bidder
Central Supplier Database Number
Delivered price in ZAR per ampoule/injection Price must be two decimals | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Delivered price in ZAR per shipper pack Price must be two decimals | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Registered Product Name
Conforms to specification? (Y/N)
If NO: Detail deviation from specification.
Product Registration Number
License to Manufacture Medicines: Licence Number
License to Manufacture Medicines: Expiry Date
Pack Size Offered: Unit Pack
Pack Size Offered: Shelf Pack
Standard units in: Shipper Pack
Lead-Time (≤ 14 calendar days)
Initial lead time (≤75 calendar days)
Minimum Order Quantity
Batch size for the bid item, in number of packs
Monthly batch capacity that will be assigned for the bid item for the duration of the contract, in number of batches.
Do you require a technical amendment to perform according to the conditions of your bid: (Y/N)
If YES: Provide details
EAN 13 Barcode for Unit Pack
EAN 13 Barcode for Shelf Pack
ITF14 Barcode for Shipper Pack
2D Barcode or Similar
NAPPI Code
SEP (Current List - Corresponding Unit) | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Manufacturer (1)
Manufacturer (2)
Manufacturer (3)
Are any of the listed manufacturers etc. 3rd parties to the bidder. (Y/N) If YES complete PBD1
API Source 1 Full Site Name
API Source 1 Full Address
API Source 1 Country
API Source 1 Contact
API Source 2 Full Site Name
API Source 2 Full Address
API Source 2 Country
API Source 2 Contact
API Source 3 Full Site Name
API Source 3 Full Address
API Source 3 Country
API Source 3 Contact
% of Delivered Price attributable to API
Local (API/Raw Material)
Imported (API)
% of Delivered Price attributable to Formulation
Local (Formulation)
Imported (Formulation)
% of Delivered Price attributable to Packaging
Local (Packaging)
Imported (Packaging)
% of Delivered Price attributable to Logistics
% of Delivered Price attributable to Gross Margin
Currency

## HP05-2021DI Annexure A
ITEM NO | 5
Item Specification | BLOOD GLUCOSE METER to be used in conjunction with Item 24. Preset to measure in mmol/L. Easy to operate. Auto-calibration. Preferred memory of at least 100 tests, with timestamp of each. Large display and font size. Include automatic device for finger prick blood sampling. Automatic start and timing measurement. Batteries – long life / rechargeable, easily accessible for replacement. Provide results within 10 seconds. Minimal input to obtain measurement. On-site training of health care professionals and patients. Maintenance & support throughout the contract period. Warranty for normal use of at least 1 year. Instructions for use must be provided with each meter in at least English. Indicator for expired test strip usage or underdosing. Provision of software for uploading of result with trend indicator overtime, at healthcare facility sites where IT infrastructure is available. Toll-free helpline availability. Facility for uploading meterresults onto an android platform for patients. Supplier registered with the South African Health Products Regulatory Authority. CE Certified Items 24 and 5 will be considered as a series .
UNIT (Use for Estimate & Price) | Each
Estimate | 532000

## HP05-2021DI Anexxure B
ITEM NO | 24
Item Specification | TEST STRIP for the determination of GLUCOSE in WHOLE BLOOD, 50 strips per container. Strips contain dry reagent for the measurement of blood glucose levels based on biosensor / photometric responses which can be automatically measured. Colour change for approximate visual reading will be an advantage. Accurate measure of blood glucose levels in the range 1 - 30 mmol/L. Measurement to correct for hematocrit. Test strips to be provided in airtight containers along with a desiccant. Storage at room temperature (25 degrees C). Blood sample size no larger than 1.5 microlitre. Unopened shelf-life of at least 18 months. Opened shelf life instructions to appear on container. Supplier should provide training including in rural areas. A matching blood glucose meter as specified in item 5 must be supplied at no charge for every 50 containers (of 50 strips) ordered. Items 5 and 24 will be considered as a series.
UNIT (Use for Estimate & Price) | 1 Pack of 50 strips
Estimate | 5731410

## HP05-2021DI Annexure C
ITEM NO | 25
Item Specification | URINE TEST STRIP for the determination of 10 different URINE PARAMETERS i.e. glucose, protein, pH, nitrite, ketone, urobilinogen, bilirubin, blood, leukocytes and specific gravity; 100 strips per container. Test strip must comprise of up to 10 different chemical reagents which change colour when immersed in and then removed from a urine sample. Strip must have a long handle to be safe and hygienic. Strip must face downwards so that fingers stay clear of the specimen. Test strip must not be influenced by ascorbic acid. Must be a rapid test with results obtained within 3 minutes. Interpretation of test results must be incorporated on the outside of the immediate container design.
UNIT (Use for Estimate & Price) | 1 Pack of 100 strips
Estimate | 655530